# Introduction

This device is a capacitive touchscreen joystick that allows users to connect to the XAC and operate a joystick with little to zero force. This device is well suited for users with limited dexterity and finger strength.

# Research

## Commercial Products

| Title | Picture | Price | Notes |
| --- | --- | --- | --- |
| Steam Controller |  | N/A | This commercial gaming controller made by Steam uses a trackpad joystick instead of the standard analog joystick. Considered a commercial flop and is no longer available. |
| Vive Controller |  | $179.99 | A controller used for VR gaming that uses a track pad joystick |
| Dell Wireless Touchpad |  | $109.99 | A wireless trackpad that can connect to a computer through a USB dongle. |

## DIY Products

| Title | Picture | Price | Notes |
| --- | --- | --- | --- |
| Joy-Con Touchpad Mod |  |  | “The initial inspiration for this project was to create a permanent solution to joystick fatigue and drifting issues” Replaces the stock joystick with the Cirque GlidePoint capacitive joystick. |

# Requirements

## Goals

| G01 | Offer users an alternative to analog joysticks. |
| --- | --- |
| G02 | Allow users to control their joystick with little to no activation force. |
| G03 | Use capacitive touch to control joystick movements. |

## Functional Requirements

| F01 | Must be compatible with the XAC. |
| --- | --- |
| F02 | Must use common connection types to connect the device to the XAC. |

## Non-functional Requirement

| NF01 | 3D printed parts must be printable on common maker printers. |
| --- | --- |
| NF02 | 3D printed parts should be printable with no supports. |

## Constraints

| C01 | Must use readily available off the shelf parts. |
| --- | --- |
| C02 | Must be buildable using common maker tools. |

# Version 1.0

## GlidePoint Joystick MKII

Designer: Ron Nelson

Cost: ~$32

Print Time: ~1h

GitHub Repository: nelsonii (Ron Nelson) (github.com)

- Contains firmware and housing designs for various devices made by Ron Nelson, including the glide point joystick.

YouTube: GlidePoint as Joystick for XBOX Adaptive Controller - YouTube

- Brief explanation of the prototyping process.

Other Resources:

ATMakers - Makers & Users | Facebook – Some discussion of device.

Cirque Glidepoint Light Touch Switch - YouTube – Review of product.

SevenMileMountain - Etsy Canada – Etsy shop where Ron Nelson currently sells mounts for this device.

### Cirque GlidePoint Sensor

The GlidePoint is a capacitive trackpad that is used as a joystick in this project. There are three sizes available: 23 mm, 35 mm, and 40 mm in diameter.

There are also 4 different top surfaces available:

- Curved Overlay

- Flat Overlay

- Adhesive Overlay

- No Overlay

### Device Configurations

| Configuration | GlidePoint Variants | Microcontroller Options | Enclosure |
| --- | --- | --- | --- |
| 1 (MKII) | - 35 mm - Curved Overlay | - QT PY SAMD21 - QT PY RP2040 | - Top - Base |
| 2 | - 23 mm - Flat Overlay - 23mm - No Overlay | - QT PY SAMD21 - QT PY RP2040 | - Top - Base |
| 3 | - 35 mm - Flat Overlay - 35 mm - Adhesive Overlay - 35 mm - No Overlay | - QT PY SAMD21 - QT PY RP2040 | - Top - Base |
| 4 | - 40 mm - Flat Overlay - 40 mm - Adhesive Overlay - 40 mm - No Overlay | - QT PY SAMD21 - QT PY RP2040 | - Top NA or uses other top. - Base |
| 5 | - 35 mm - Flat Overlay - 35 mm - Adhesive Overlay - 35 mm - No Overlay | - KB2040 – RP2040 | - Top - Base |
| 6 | - 40 mm - Flat Overlay - 40 mm - Adhesive Overlay - 40 mm - No Overlay | - KB2040 – RP2040 | - Top - Base |

### License

MIT License

Copyright (c) 2022 Ron Nelson

Permission is hereby granted, free of charge, to any person obtaining a copy of this software and associated documentation files (the "Software"), to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, and/or sell copies of the Software, and to permit persons to whom the Software is furnished to do so, subject to the following conditions:

The above copyright notice and this permission notice shall be included in all copies or substantial portions of the Software.

THE SOFTWARE IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE.

# Testing

## 3D Printing

Device printing successfully without the need of support. The top and bottom of the enclosure fit together nicely.

## Assembly

Wires could be shorter to fit better or note the gauge of wire to be smaller.

## Functional Test

### Connecting to XAC

Plugging in the joystick to the left or right USB input on the XAC and testing on Gamepad-Tester is successful.

Current testing

- Soldered components

  - Soldered easily.

  - Should have used less stiff wire as this made it more difficult to install components into the enclosure.

- Uploaded code

  - Had to download Adafruit board backage

  - Downloaded Neopixel and TinyUSB libraries

  - Forgot to change “Optimize:” to “Faster” as defined in the code.

# Opportunities for Improvement

- Create a 3D printed handheld mount.

- Have markers to establish joystick orientation.

- Have the enclosure halves click-lock together.